## Solar Whiz temperature data
Solar Whiz temperature data
|  |  | Day 1 | 7:30 | 8:30 | 9:30 | 10:30 | 11:30 | 12:30 | 13:30 | 14:30 | 15:30 | 16:30 | 17:30 | 18:30 | 19:30
|  |  | Roof Cavity (Insulated) | 24 | 26 | 32 | 36 | 41 | 42 | 41 | 41 | 40 | 39 | 36.5 | 33.5 | 31.5
|  |  | 2nd Floor | 25 | 26 | 26 | 26.5 | 27.5 | 27.5 | 28 | 28 | 28 | 28 | 28 | 27.5 | 27
|  |  | Outside Temperature (Shade) | 23 | 24 | 25 | 25 | 26 | 27 | 27.5 | 28 | 27.5 | 27 | 26 | 25 | 23.5
* SW switched on (set at 26deg)
| 7:30 | 8:30 | 9:30 | 10:30 | 11:30 | 12:30 | 13:30 | 14:30 | 15:30 | 16:30 | 17:30 | 18:30 | 19:30 | 20:30 | 21:30 | Averages
Roof Cavity – Day 1 | 24 | 26 | 32 | 36 | 41 | 42 | 41 | 41 | 40 | 39 | 36.5 | 33.5 | 31.5 | 29 |  | 35.1786 | Roof Cavity - Day 1
Roof Cavity – Day 2 | 24 | 27 | 33.5 | 36 | 40 | 41.5 | 41.8 | 41.8 | 41 | 40.5 | 37.5 | 34.8 | 31.3 | 29 |  | 35.6929 | Roof Cavity - Day 2
Roof Cavity – Day 3 | 25.9 | 26.6 | 28.5 | 32.7 | 37 | 38 | 39.6 | 39 | 38.6 | 38.6 | 37 | 35.8 | 34 | 32.2 | 31
2nd Floor – Day 1 | 25 | 26 | 26 | 26.5 | 27.5 | 27.5 | 28 | 28 | 28 | 28 | 28 | 27.5 | 27 | 27 |  | 27.1429 | 2nd floor - Day 1
2nd Floor – Day 2 | 25 | 25.5 | 26 | 26.5 | 27 | 28 | 28 | 28.5 | 28.5 | 28.5 | 28.5 | 28 | 27.5 | 27 |  | 27.3214 | 2nd floor - Day 2
2nd Floor – Day 3 | 26.6 | 27 | 27.3 | 28.2 | 29.1 | 29.5 | 30 | 30.2 | 30.5 | 30.6 | 30.6 | 30.2 | 30 | 29.8 | 29.5
Temp diff - outside vs 2nd floor - Day 1 | -2 | -2 | -1 | -1.5 | -1.5 | -0.5 | -0.5 | 0 | -0.5 | -1 | -2 | -2.5 | -3.5 | -4 |  | -0.9375 | (4 ceiling vents, 1 eave vent) ie it was 1 deg hotter than outside on avg
Temp diff - Outside vs 2nd floor - Day 2 | -2 | -2 | 2 | 3 | 2.5 | 2 | 1 | 1 | 1 | 0.5 | -0.5 | -1 | -2 | -3 |  | 1.3125 | (5 ceiling vents, 2 eave vents) ie it was 1.3 deg cooler than outside on avg
Temp diff - Outside temp compared to 2nd floor - Day 3 | -2.6 | -1 | -0.3 | 2.8 | 2.9 | 2.5 | 2 | 0.8 | 0.5 | 0.4 | 0.4 | -0.2 | -1 | -1.8 | -1.5 | 1.5375 | Upgrade to 2100
Outside Temperature – Day 1 | 23 | 24 | 25 | 25 | 26 | 27 | 27.5 | 28 | 27.5 | 27 | 26 | 25 | 23.5 | 23 |  | 25.5357 | Outside temp - Day 1
Outside Temperature – Day 2 | 23 | 23.5 | 28 | 29.5 | 29.5 | 30 | 29 | 29.5 | 29.5 | 29 | 28 | 27 | 25.5 | 24 |  | 27.5 | Outside temp - Day 2
Outside Temperature – Day 3 | 24 | 26 | 27 | 31 | 32 | 32 | 32 | 31 | 31 | 31 | 31 | 30 | 29 | 28 | 28
Diff in temp.- roof vs outside - Day 1 | 1 | 2 | 7 | 11 | 15 | 15 | 13.5 | 13 | 12.5 | 12 | 10.5 | 8.5 | 8 | 6 |  | 12.8125 | (4 ceiling vents, 1 eave vent)
Diff in temp - roof vs outside - Day 2 | 1 | 3.5 | 5.5 | 6.5 | 10.5 | 11.5 | 12.8 | 12.3 | 11.5 | 11.5 | 9.5 | 7.8 | 5.8 | 5 |  | 10.7625 | (5 ceiling vents, 2 eave vents)
Diff in temp - roof vs outside - Day 3 | 1.9 | 0.6 | 1.5 | 1.7 | 5 | 6 | 7.6 | 8 | 7.6 | 7.6 | 6 | 5.8 | 5 | 4.2 | 3 | 6.1875 | Upgrade to 2100
Difference in difference | 0 | -1.5 | 1.5 | 4.5 | 4.5 | 3.5 | 0.7 | 0.7 | 1 | 0.5 | 1 | 0.7 | 2.2 | 1 |  | 2.05 | Avg diff in temperature: roof Cavity vs outside, days 1 & 2.
- Note: One day 1 I had 4 internal and 1 eave vent, on day 2 I had added 2 eave vents and 1 more internal vent (total of 8). Day 3 was a month a month or so later, with the sw motor upgraded to 2100.
- Day 1 vs day 2 & 3 (day 3 had extra vents installed and was hotter, day 3 was after upgrade to 2100, and hotter again).
Observation :
- The roof Cavity did get hotter on day 2, but only by 0.5 degree whereas the outside temp was often 2 degrees higherions:
- The 2nd floor temperatures stayed very similar on both days, despite being 2 deg hotter outside.
- The temps on the 2nd floor were on average 2.1 deg cooler on the 2nd day, compared to the outside ambient temperature. (10am-5pm).
- The 2nd floor temps were reluctant to come down once it became cooler outside and in the roof (suggesting lack of airflow from outside).
Observations:
- With the additonal vents on the 2nd day, the roof Cavity was about 4 degrees cooler compared to the outside temperature during the morning.
- From about 1:30pm the difference in temp compared to outside became similar for both day (10-12 degrees).
- The average difference in temperature between roof Cavity and ambient temperature was about 11 degrees (between 10:30 and 5:30).
Day 3: The 2100 has done much better at keeping the Cavity from getting well above the outside temperature, with an avg difference of 6.2 degrees.
Conclusions:
- With radiance conditions being pretty similar for both days, I think we can safely conclude that the additional vents helped the SW to keep the Cavity cooler compared to outside temperatures.
- The 2nd floor temperatures remained similar despite hotter temperatures outside on day 2. There was a limted cooling affect inside once the roof and outside temperatures came down in the evening.
- With 2100: The upgrade in motor (from 1800) has made a big difference on the roof Cavity temperatures, and a small affect on keeping the upstairs temp lower (relative to outside ambient). The average difference for the latter is only .3 of a degree though, so I'll be looking for ways to improve that, eg more internal vents and shutting the upstairs windows. from 10:30 the SW would have been drawing hotter air in through the windows. I did close them on this day, but not until the afternoon (cause it makes the rooms stuffy).